## Slide 1
Methods of Glucose Measurement and Diabetic Management

## Slide 2: Laboratory testing
Considerations
  Reference values depend on:
    Type of specimen
      venous/capillary
      Serum, plasma, whole blood
    How was it collected?
      fasting, random, after a meal
Reference value (serum/plasma)
  74-106 mg/dL

## Slide 3: Laboratory testing
Glucose preservation
    Perform testing < 1 hour after collection
    Separate plasma from cells < 1 hour
      Cells continue to utilize glucose at a rate of 10 mg/dL per hour.
      Refrigeration slows the process.
    Collect blood in sodium fluoride tube
      Grey top tube
      Fluoride inhibits glycolysis

## Slide 4: Specimen Collection
Whole blood –
  Point of care
  Results are @ 11% lower than plasma/serum
Serum
Plasma

## Slide 5: Other Specimen Types
CSF specimens
  Analyzed ASAP
  Glucose level is 60-70% of pts current blood level.
  CSF glucose in Fasting (non-diabetic) @ 40-70 mg/dL
    Decreased CSF glucose values suggest bacterial meningitis because bacteria are consuming glucose as an energy source
    Normal or Increased CSF glucose suggests viral meningitis.
24 hour urine
  A small amount of glucose is lost in the urine daily. Usually < 500mg/24 hr.
  Random urine for diagnosis no longer performed, but some patients use it for self monitoring.

## Slide 6: Methods for Glucose Determination

## Slide 7: Glucose Oxidase Methodology
Glucose + O2 + H2O
Glucose Oxidase
Gluconic acid + H2O2
H2O2 + Chromogen
Oxidized chromogen
+ H2O
Peroxidase
Trindler reaction
Glucose oxidase – an enzyme that will catalyze the reaction of glucose to gluconic acid, with the formation of hydrogen peroxide as a by-product

## Slide 8: Glucose oxidase
Good methodology, but:
  Procedure is good for blood and CSF specimens, but urine has too many interfering substances.
  Subject to interference from ascorbic acid, bilirubin and uric acid which are also oxidized by peroxidase.
  Alternative way to determine concentration: (polarographically)
    Measuring the amount of oxygen used up by an electrode

## Slide 9: Hexokinase
An enzyme that catalyzes the phosphorylation of glucose
  Method can be very accurate and precise since the coupling reaction is specific
  Time consuming for routine use
  Reference methodology since it lacks interferences associated with glucose oxidase method
  Procedure can utilize blood, urine and CSF

## Slide 10: Hexokinase Methodology
Glucose + ATP
Hexokinase
Glucose – 6 – Phosphate +
ADP
Glucose – 6 - Phosphate
+ NADP
G6PD
NADPH + H +
6-Phosphogluconate
NADP - Nicotinamide adenine dinucleotide phosphate (oxidized form) is reduced
NADPH - reduced form absorbs light (340nm) proportional to the amount of glucose present in first reaction

## Slide 11: Laboratory Diagnosis

## Slide 12: Laboratory Tests
Fasting blood sugar (FBS)
  Most frequently ordered “screening” test for glucose metabolism
    Reference value: 74-106 mg/dL
    Fasting values > 126 mg/dL usually indicate a problem
    FBS should be repeated on another day to confirm diagnosis
    Borderline diabetes may have a normal FBS & may need a challenge test to demonstrate abnormality

## Slide 13: 2 hr post prandial Laboratory Tests
2 Hour Postprandial
  Patient has FBS drawn
  Ingests a 75 gram high carbo breakfast – or sometimes drinks glucola
  Has repeated glucose test at 2 hours
  Glucose level should have returned to fasting levels.
  If glucose > 200 mg/dL on the postprandial test, a fasting or random glucose level, should be performed on a subsequent day to diagnose with diabetes

## Slide 14: Laboratory Tests
Oral glucose tolerance test (GTT)
  No longer recommended by the new ADA guidelines
  Used to screen for gestational diabetes
    Problems included calculation dosage, patient must drink it, keep it down, stay relatively inactive during test period, and be successfully drawn “on time”.

## Slide 15: Oral glucose tolerance test (GTT)
Patient directions - important.
  Eat an adequate carbohydrate diet at least three (3) days prior to test
  Evening before the test, no eating after supper meal
  Test is begun in early a.m.
  Obtain fasting specimen
  Test dose: ** test dose has been reduced to 75 gm for adults and 1.75 gm / kg for children. Test dose must be consumed within 5 minutes.
  Patient is to remain resting, no smoking or eating during test period
  Blood and urine specimens are collected at hourly intervals - Testing of the urine glucose & ketones, no longer routine.

## Slide 16: Oral glucose tolerance test (GTT)
Normal
Abnormal

## Slide 17: Laboratory Tests: Ketones
  Produced by the liver
  Metabolism by-products of fatty acids
  Three bodies
    Acetone (2%)
    Acetoacetic acid (20%)
    3-β hydroxybutyric acid (78%)
  Increase in cases of carbohydrate deprivation or decreased carbohydrate use (diabetes mellitus, starvation/fasting, prolonged vomiting etc.)

## Slide 18: Laboratory Tests: Microalbumin
Microalbumin
  Persistent albuminuria in the range of 30-299 mg/ 24 h or an albumin-creatinine ratio of 30-300 µg/mg
  Indication of renal nephropathy
  Assists in the diagnosis of early proteinuria
  Normal urine dipsticks are insensitive to low concentrations of urine albumin

## Slide 19: Glycosylated Hemoglobin/ Hemoglobin A1c
Long term glycemic control indicator, reflects average blood glucose level over the previous 2-3 months
Glucose molecule attaches nonenzymatically to the hemoglobin molecule
Advantages:
  “Time average glucose” not subject to temporary variability due to diet and exercise
  Does not require fasting
Influenced by:
  Conditions that affect the life span of the RBC, such as sickle cell disease and hemolytic diseases
  Hemoglobin A1C is the most commonly measured glycosylated hemoglobin

## Slide 20: Glycosylated Hemoglobin/ Hemoglobin A1c
Specimen : EDTA whole blood
  doesn’t need to be fasting
Measured by electrophoresis, enzymatic assays, HPLC
Hemoglobin A1C reference range
  4.0 - 6.0 %
For diagnosis of diabetes based on Hemoglobin A1C results, the patient must has a result of > 6.5% , confirmed by repeat measurement.

## Slide 21: Other related tests: Lactose Tolerance
Lactose - disaccharide
Lactose malabsorption or lack of enzyme needed to breakdown lactose
Often results in diarrhea, cramping, and gas
Lab evaluation
  Perform OGTT using lactose, not glucose
  Normal
    GTT curve similar to OGTT (glucose level will increase 25 mg/dL above the fasting level).
  Lactase deficiency
    Flat curve - no/very little increase in glucose level.

## Slide 22: Urine Glucose
Copper Reduction- Clinitest
Not specific
Detects all reducing sugars
Used to detect galactosemia in babies and children < 3 yrs old.